**Categorical Permission Alteration Description –** **18. Retaining Walls**

The categorical permission covers the construction, modification/repair, and replacement of retaining walls, subject to certain terms and conditions. Retaining walls within the levee embankment and toe must:

* Be constructed of reinforced concrete or equivalent durable material.
* Ensure proper drainage.
* Have a foundation adequate to prevent slides.
* Meet USACE requirements for stability demonstrated by appropriate modeling (including overturning, sliding, shear failure, global slope stability failure, and soil bearing capacity).
* Be designed by a licensed civil engineer regardless of height.

Retaining walls must not reduce the existing design flow capacity or the flowage area; if the intended wall is near the waterside or landside levee toe, a detailed geotechnical evaluation may be required.

Existing retaining walls that do not meet the above requirements may need to be removed. If a determination cannot be made of the impact of an existing retaining wall on the levee by visual inspection alone, a detailed geotechnical evaluation may be required.

Any excavation of the levee for installation of the retaining wall must be backfilled with material similar to the adjacent levee in 4‐ to 6‐inch lifts and compacted to at least the same density as the adjacent undisturbed embankment or underlying foundation.

Upon recognition of signs that the retaining wall has become unstable, repairs must be undertaken as soon as possible. If the requester wishes to remove a retaining wall, the requester should contact the non-federal sponsor for information on removal and backfilling any excavation.

**Categorical Permission Alteration Checklist – 18. Retaining Walls**

*Note:* The following checklist is intended for planning purposes only, and includes information that USACE reviewers look for when considering a Section 408 request for retaining walls under the Categorical Permission. To be reviewed under the Categorical Permission, the proposed project must adhere to all requirements of the Categorical Permission, including the full alteration description (see previous page). The plans and narrative project description should reflect this information.

|  |
| --- |
| 1. [ ]  New Installation [ ]  Replacement [ ]  Modification [ ]  Authorize Existing
 |
| 1. Retaining walls within the levee embankment and toe will:
 |
| Be constructed of reinforced concrete or equivalent durable material: [ ]  |
| Ensure proper drainage: [ ]  |
| Have a foundation adequate to prevent slides: [ ]  |
| Meet USACE requirements for stability demonstrated by appropriate modeling (including overturning, sliding, shear failure, global slope stability failure, and soil bearing capacity): [ ]  |
| Be designed by a licensed civil engineer regardless of height: [ ]  |
|

|  |
| --- |
| Reference: [ Click to enter document source. Example – plan sheet (p. 4), specs, report. ] |
| Comment: [ Click to enter rationale, explanation, unique situation, etc. ] |

 |
| 1. Retaining walls will not reduce the existing design flow capacity or the flowage area : No [ ]
 |
|

|  |
| --- |
| Reference: [ Click to enter document source. Example – plan sheet (p. 4), specs, report. ] |
| Comment: [ Click to enter rationale, explanation, unique situation, etc. ] |

 |
| 1. Any excavation of the levee for installation of the retaining wall will be backfilled with material similar to the adjacent levee in 4‐ to 6‐inch lifts and compacted to at least the same density as the adjacent undisturbed embankment or underlying foundation: Yes [ ]  N/A [ ]
 |
|

|  |
| --- |
| Reference: [ Click to enter document source. Example – plan sheet (p. 4), specs, report. ] |
| Comment: [ Click to enter rationale, explanation, unique situation, etc. ] |

 |
| 1. Any work within the levee embankment or foundation? Yes [ ]  No [ ]
 |
|

|  |
| --- |
| Reference: [ Click to enter document source. Example – plan sheet (p. 4), specs, report. ] |
| Comment: [ Click to enter rationale, explanation, unique situation, etc. ] |

 |
| 1. Hydraulic blockage calculation ≥1%? Yes [ ]  No [ ]  N/A [ ]
 |
|

|  |
| --- |
| Reference: [ Click to enter document source. Example – plan sheet (p. 4), specs, report. ] |
| Comment: [ Click to enter rationale, explanation, unique situation, etc. ] |

 |
| 1. Hydraulic model used for hydraulic analysis? Yes [ ]  No [ ]  N/A [ ]
 |
|

|  |
| --- |
| Reference: [ Click to enter document source. Example – plan sheet (p. 4), specs, report. ] |
| Comment: [ Click to enter rationale, explanation, unique situation, etc. ] |

 |

|  |
| --- |
| *– For Official Use Only below this line –* |
|  *Comment*  |
| **CP Eligibility Review** |
| Yes No | Add’l. Info Requested |
|  [ ]  [ ]  [ ]   | Environmental Reviewer: |  | Date: | Click date |  |
|  [ ]  [ ]  [ ]   | Engineering Reviewer: |  | Date: | Click date |  |
|  |  |  |  |  |  |